§132.4 D – Grinder Pumps

Whenever the first floor of a structure is constructed at a level too low to allow use of gravity sewers a grinder pump shall be required.

The cost of purchase and installation of the grinder pump, whether in an existing district, a district extension or a new district, shall be the responsibility of the property owner.  All new pumps must be approved by the district in advance of installation.  Maintenance and repair shall be the responsibility of the district when the property owner has granted the district an easement.  Maintenance and repair shall be the responsibility of the property owner when the property owner has not granted the district an easement.

Grinder pumps shall be located outdoors and installed in a sealed underground chamber with a water tight cover and shall be protected from freezing.

The district may, if it determines that abuse or negligence resulted in damage to a pump, charge the owner of the property the actual cost of such repairs and add said expense to the tax levy for the subject property.

The district may require the owner to install separation of screening equipment to protect pumps from unusual waste flows.

The property owner shall pay for all electric costs to run the pumps.